## sto_items (2)
title_en | item_type | cost | sale_price | alert_quantity | unit_id | cat_id | brand_id | unit_id | code | brand_id | description
FX3S-14MR/ES | standard | 2500 | 2500 | 1 | 1 | 3 |  |  | 267113 | 1 | FX3S Base Unit AC100-240V;8 Inputs DC24V;6 Relay Outputs
FX3S-14MT/ES | standard | 0 | 0 | 1 | 1 | 3 |  |  | 267114 | 1 | (PLC) CPU main unit with integrated I/Os - 14I/O [8DI (8 x digital inputs (24Vdc; Sink/Source)) + 6DO (6 x digital outputs (5-30Vdc; Sink; 500mA; 0.2ms response))] - 4Ksteps (EEPROM; Program) memory capacity - with RS-422 - Supply voltage 100Vac-240Vac
FX3S-14MT/ESS | standard |  |  | 1 | 1 | 3 |  |  | 267125 | 1 | (PLC) CPU main unit with integrated I/Os - 14I/O [8DI (8 x digital inputs (24Vdc; Source)) + 6DO (6 x digital outputs (5-30Vdc; source; 500mA; 0.2ms response))] - 4Ksteps (EEPROM; Program) memory capacity - with RS-422 - Supply voltage 100Vac-240Vac
FX3S-20MR/ES | standard | 3500 | 3500 | 1 | 1 | 3 |  |  | 267126 | 1 | FX3S Base Unit AC100-240V;12 Inputs DC24V;8 Relay Outputs
FX3S-20MT/ES | standard |  |  | 1 | 1 | 3 |  |  | 267127 | 1 | FX3S Base Unit AC100-240V;12 Inputs DC24V;8 Transistor Outputs (sink)
FX3S-20MT/ESS | standard |  |  | 1 | 1 | 3 |  |  | 267128 | 1 | X3S Base Unit AC100-240V;12 Inputs DC24V;8 Transistor Outputs (source)
FX3S-30MR/ES | standard |  |  | 1 | 1 | 3 |  |  | 267129 | 1 | FX3S Base Unit AC100-240V;16 Inputs DC24V;14 Relay Outputs
FX3S-30MT/ES | standard |  |  | 1 | 1 | 3 |  |  | 267130 | 1 | FX3S Base Unit AC100-240V;16 Inputs DC24V;14 Transistor Outputs (sink)
FX3S-30MT/ESS | standard |  |  | 1 | 1 | 3 |  |  | 267131 | 1 | FX3S Base Unit AC100-240V;16 Inputs DC24V;14 Transistor Outputs (source)
FX3G-14MR/ES | standard | 4333 | 4333 | 1 | 1 | 3 |  |  | 231466 | 1 | FX3G Base Unit AC 100-240 V; 8 inputs DC 24V; 6 relay outputs
FX3G-14MT/ES | standard |  |  | 1 | 1 | 3 |  |  | 221248 | 1 | PLC, FX3G Base Unit AC 100-240 V; 8 inputs DC 24V; 6 transistor outputs (sink)
FX3G-14MT/ESS | standard |  |  | 1 | 1 | 3 |  |  | 231470 | 1 | PLC, FX3G Base Unit AC 100-240 V; 8 inputs DC 24V; 6 transistor outputs
FX3G-24MR/ES | standard | 3255 | 3255 | 1 | 1 | 3 |  |  | 231467 | 1 | PLC, FX3G Base Unit AC 100-240 V; 14 inputs DC 24V; 10 Relay
FX3G-24MT/ES | standard | 3400 | 3400 | 1 | 1 | 3 |  |  | 221249 | 1 | PLC, FX3G Base Unit AC 100-240 V; 14 inputs DC 24V; 10 transistor outputs (sink)
FX3G-24MT/ESS | standard |  |  | 1 | 1 | 3 |  |  | 231471 | 1 | PLC, FX3G Base Unit AC 100-240 V; 14 inputs DC 24V; 10 transistor outputs
FX3G-40MR/ES | standard | 4000 | 4000 | 1 | 1 | 3 |  |  | 231468 | 1 | PLC, FX3G Base Unit AC 100-240 V; 24 inputs DC 24V; 16 relay outputs
FX3G-40MT/ES | standard | 4150 | 4150 | 1 | 1 | 3 |  |  | 221250 | 1 | PLC, FX3G Base Unit AC 100-240 V; 24 inputs DC 24V; 16 transistor outputs (sink)
FX3G-40MT/ESS | standard |  |  | 1 | 1 | 3 |  |  | 231472 | 1 | PLC, FX3G Base Unit AC 100-240 V; 24 inputs DC 24V; 16 transistor outputs
FX3G-60MR/ES | standard | 4550 | 4550 | 1 | 1 | 3 |  |  | 231469 | 1 | PLC, FX3G Base Unit AC 100-240 V; 36 inputs DC 24V; 24 relay outputs
FX3G-60MT/ES | standard | 4700 | 4700 | 1 | 1 | 3 |  |  | 221251 | 1 | PLC, FX3G Base Unit AC 100-240 V; 36 inputs DC 24V; 24 transistor outputs (sink)
FX3G-60MT/ESS | standard |  |  | 1 | 1 | 3 |  |  | 231473 | 1 | PLC, FX3G Base Unit AC 100-240 V; 36 inputs DC 24V; 24 transistor outputs
FX3U-16MR/ES | standard |  |  | 1 | 1 | 3 |  |  | 231486 | 1 | PLC, FX3U Base Unit AC 100-240 V: 8 inputs DC 24 V; 8 relay outputs
FX3U-16MT/ES-A | standard | 3150 | 3150 | 1 | 1 | 3 |  |  | CN 231486 | 1 | PLC, FX3U Base Unit AC 100-240 V: 8 inputs DC 24 V; 8 relay outputs
FX3U-16MT/ESS | standard | 8036 | 8036 | 1 | 1 | 3 |  |  | 231492 | 1 | PLC, FX3U Base Unit AC 100-240 V: 8 inputs DC 24 V; 8 transistor outputs
FX3U-32MR/ES | standard | 3480 | 3480 | 1 | 1 | 3 |  |  | 231487 | 1 | PLC, FX3U Base Unit AC 100-240 V; 16 inputs DC 24 V; 16 relay outputs
FX3U-32MT/ES | standard | 3520 | 3520 | 1 | 1 | 3 |  |  | 206143 | 1 | PLC, FX3U Base Unit AC 100-240 V; 16 inputs DC 24 V; 16 transistor outputs; sink
FX3U-32MT/ESS | standard | 5100 | 5100 | 1 | 1 | 3 |  |  | 231493 | 1 | PLC, FX3U Base Unit AC 100-240 V; 16 inputs DC 24 V; 16 transistor outputs
FX3U-48MR/ES | standard | 3660 | 3660 | 1 | 1 | 3 |  |  | 231488 | 1 | PLC, FX3U Base Unit AC 100-240 V; 24 inputs DC 24 V; 24 relay outputs
FX3U-48MT/ES-A | standard | 4837.8 | 4837.8 | 1 | 1 | 3 |  |  | CN 231488 | 1 | PLC, FX3U Base Unit AC 100-240 V; 24 inputs DC 24 V; 24 relay outputs
FX3U-48MT/ESS | standard |  |  | 1 | 1 | 3 |  |  | 231494 | 1 | PLC, FX3U Base Unit AC 100-240 V; 24 inputs DC 24 V; 24 transistor outputs
FX3U-64MR/ES | standard | 7791 | 7791 | 1 | 1 | 3 |  |  | 231489 | 1 | PLC, FX3U Base Unit AC 100-240 V; 32 inputs DC 24 V; 32 relay outputs
FX3U-64MT/ES | standard | 6700 | 6700 | 1 | 1 | 3 |  |  | 206165 | 1 | PLC, FX3U Base Unit AC 100-240 V; 32 inputs DC 24 V; 32 transistor outputs; sink
FX3U-64MT/ESS | standard |  |  | 1 | 1 | 3 |  |  | 231495 | 1 | PLC, FX3U Base Unit AC 100-240 V; 32 inputs DC 24 V; 32 transistor outputs
FX3U-80MR/ES | standard |  |  | 1 | 1 | 3 |  |  | 231490 | 1 | PLC, FX3U Base Unit AC 100-240 V; 40 inputs DC 24 V; 40 relay outputs
FX3U-80MT/ES | standard |  |  | 1 | 1 | 3 |  |  | 206166 | 1 | PLC, FX3U Base Unit AC 100-240 V; 40 inputs DC 24 V; 40 transistor outputs; sink
FX3U-80MT/ESS | standard | 13836 | 13836 | 1 | 1 | 3 |  |  | 231496 | 1 | PLC, FX3U Base Unit AC 100-240 V; 40 inputs DC 24 V; 40 transistor outputs
FX5U-32MR/ES | standard | 6600 | 6600 | 1 | 1 | 3 |  |  | 280489 | 1 | FX5U;CPU;AC;16 Inputs;16 Relay Outputs;3xAnalog;Eth;RS-485
FX5U-32MT/ES | standard | 5870 | 5870 | 1 | 1 | 3 |  |  | 280490 | 1 | FX5U;CPU;AC;16 Inputs;16 Transistor Outputs;3xAnalog;Eth;RS-485;sink
FX5U-32MT/ESS | standard | 7042.85 | 7042.85 | 1 | 1 | 3 |  |  | 280491 | 1 | FX5U;CPU;AC;16 Inputs;16 Transistor Outputs;3xAnalog;Eth;RS-485;source
FX5U-64MR/ES | standard | 6500 | 6500 | 1 | 1 | 3 |  |  | 280492 | 1 | FX5U;CPU;AC;32 Inputs;32 Relay Outputs;3xAnalog;Eth;RS-485
FX5U-64MT/ES | standard | 8900 | 8900 | 1 | 1 | 3 |  |  | 280493 | 1 | FX5U;CPU;AC;32 Inputs;32 Transistor Outputs;3xAnalog;Eth;RS-485;sink
FX5U-64MT/ESS | standard | 11450 | 11450 | 1 | 1 | 3 |  |  | 280494 | 1 | FX5U;CPU;AC;32 Inputs;32 Transistor Outputs;3xAnalog;Eth;RS-485;source
FX5U-80MR/ES | standard |  |  | 1 | 1 | 3 |  |  | 280495 | 1 | FX5U;CPU;AC;40 Inputs;40 Relay Outputs;3xAnalog;Eth;RS-485
FX5U-80MT/ES | standard | 0 | 0 | 1 | 1 | 3 |  |  | 280496 | 1 | FX5U;CPU;AC;40 Inputs;40 Transistor Outputs;3xAnalog;Eth;RS-485;sink
FX5U-80MT/ESS | standard | 11738 | 11738 | 1 | 1 | 3 |  |  | 280497 | 1 | FX5U;CPU;AC;40 Inputs;40 Transistor Outputs;3xAnalog;Eth;RS-485;source
AL2-10MR-D | standard | 1000 | 1000 | 1 | 1 | 59 |  |  | 215071 | 1 | Programmable Logic Controller, ALPHA Base Unit 6 inputs/4 relay outputs, DC
FX2N-8EYT-ESS/UL | standard | 1650 | 1650 | 1 | 1 | 7 |  |  | 166287 | 1 | PLC, FX2N Modular extension unit; 8 transistor outputs
FX2N-8EYR-ES/UL | standard | 850 | 850 | 1 | 1 | 7 |  |  | 166286 | 1 | PLC, FX2N Modular extension unit; 8 relay outputs
FX2N-2DA | standard | 2000 | 2000 | 1 | 1 | 61 |  |  | 102868 | 1 | PLC, FX2N Analog output module; 12 bit; 2 analog outputs
FX2N-4AD-PT | standard | 2100 | 2100 | 1 | 1 | 60 |  |  | 65587 | 1 | PLC, FX2N Analog input module for Pt100 elements; 4 Pt100 inputs
FX2N-4AD-TC | standard | 1700 | 1700 | 1 | 1 | 60 |  |  | 65588 | 1 | PLC, FX2N Analog input module for thermo-elements; 4 thermo-coupler inputs
FX2N-16EYT | standard | 1180 | 1180 | 1 | 1 | 7 |  |  | 189354 | 1 | PLC, FX2N Modular extension unit; 16 transistor outputs; sink
FX2N-16EYT-ESS/UL | standard | 2950 | 2950 | 1 | 1 | 7 |  |  | 65581 | 1 | PLC, FX2N Modular extension unit; 16 transistor outputs
FX2N-16EX-ES/UL | standard | 1422.72 | 1422.72 | 1 | 1 | 6 |  |  | 65776 | 1 | PLC, FX2N Modular extension unit; 16 inputs 24 VDC; sink/source
FX2N-8EX-ES/UL | standard | 837.95 | 837.95 | 1 | 1 | 6 |  |  | 166284 | 1 | PLC, FX2N Modular extension unit; 8 inputs
FX2N-32ET | standard | 2750 | 2750 | 1 | 1 | 62 |  |  | CN 65569 | 1 | PLC, FX2N Compact extension unit AC 100-240 V; 16 inputs, 16 transistor outputs
FX2N-32ER | standard | 2750 | 2750 | 1 | 1 | 62 |  |  | CN 65568 | 1 | PLC, FX2N Compact extension unit AC 100-240 V; 16 inputs,16 relay outputs
FX2N-CNV-BD | standard | 300 | 300 | 1 | 1 | 9 |  |  | 65598 | 1 | Mitsubishi PLC, FX2N Communication adapter for FX2NC ADP-special modules
FX2N-422-BD | standard | 300 | 300 | 1 | 1 | 9 |  |  | 65595 | 1 | Mitsubishi PLC, FX2N RS422 Interface adapter
FX2N-232-BD | standard | 300 | 300 | 1 | 1 | 9 |  |  | 65596 | 1 | Mitsubishi PLC, FX2N RS232 Interface adapter
FX3G-485-BD | standard | 600 | 600 | 1 | 1 | 9 |  |  | 221253 | 1 | PLC, FX3G Interface module RS485, 1:n Multidrop, network expansion until 50 m
FX3G-232-BD | standard | 400 | 400 | 1 | 1 | 9 |  |  | 221254 | 1 | PLC, FX3G Interface module RS232C
FX5-4AD-ADP | standard | 3500 | 3500 | 1 | 1 | 60 |  |  | 283559 | 1 | FX5;Analog Input Module;4 channels
FX5-CNV-BUS | standard | 710 | 710 | 1 | 1 | 9 |  |  | 280510 | 1 | FX5;FX3 Bus Conversion Unit
FX5-4AD-TC-ADP | standard | 3300 | 3300 | 1 | 1 | 60 |  |  | 304299 | 1 | FX5;Analog Input Module for Thermocouplers (K/J/T/B/R/S);4 channels
FX5-4DA-ADP | standard | 3850 | 3850 | 1 | 1 | 61 |  |  | 283560 | 1 | FX5;Analog Output Module;4 channels
FX5-4AD-PT-ADP | standard | 3300 | 3300 | 1 | 1 | 60 |  |  | 304298 | 1 | FX5;Analog Input Module for Temperature Sensors;Pt100;Ni100;4 channels
FX5-32ER/ES | standard | 3600 | 3600 | 1 | 1 | 62 |  |  | 280506 | 1 | FX5;I/O Extension;AC;16 Inputs;16 Relay Outputs
FX5-32ET/ES | standard | 3600 | 3600 | 1 | 1 | 62 |  |  | 280507 | 1 | FX5;I/O Extension;AC;16 Inputs;16 Transistor Outputs;sink
FX5-8EX/ES | standard | 900 | 900 | 1 | 1 | 6 |  |  | 280498 | 1 | FX5;I/O Extension;8 Inputs
FX5-8EYT/ES | standard | 941.44 | 941.44 | 1 | 1 | 7 |  |  | 280500 | 1 | FX5;I/O Extension;8 Transistor Outputs;sink
FX5-8EYR/ES | standard | 1700 | 1700 | 1 | 1 | 7 |  |  | 280499 | 1 | FX5;I/O Extension;8 Relay Outputs
FX5-8EYT/ESS | standard | 1538 | 1538 | 1 | 1 | 7 |  |  | 280501 | 1 | FX5;I/O Extension;8 Transistor Outputs;source
FX5-16EYT/ES | standard | 1500 | 1500 | 1 | 1 | 7 |  |  | 280503 | 1 | FX5;I/O Extension;16 Transistor Outputs;sink
FX5-16EYT/ESS | standard | 2513 | 2513 | 1 | 1 | 7 |  |  | 280504 | 1 | FX5;I/O Extension;16 Transistor Outputs;source
FX5-16EX/ES | standard | 1300 | 1300 | 1 | 1 | 6 |  |  | 280505 | 1 | FX5;I/O Extension;16 Inputs
FX5-4DA | standard | 4583 | 4583 | 1 | 1 | 61 |  |  | 325715 | 1 | FX5;Analog Output Module;4 channels
FX3U-4AD | standard | 2550 | 2550 | 1 | 1 | 60 |  |  | 169508 | 1 | PLC, FX3U Analog input module; 16 bit; 4 analog inputs for current or voltage
FX3U-485ADP-MB | standard | 1515 | 1515 | 1 | 1 | 9 |  |  | 206191 | 1 | PLC, FX3U RS485 Interface module, 1:n Multidrop, Modbus RTU/ASCII (master/slave)
FX3U-485ADP-MB-H | standard | 3445 | 3445 | 1 | 1 | 9 |  |  | 215983 | 1 | High speed RS485 Interface module with Modbus protocol, 1:n Multidrop, network up to 500m
FX3U-485ADP-MB | standard | 1515 | 1515 | 1 | 1 | 9 |  |  | 206191 | 1 | PLC, FX3U RS485 Interface module, 1:n Multidrop, Modbus RTU/ASCII (master/slave)
FX3U-2HSY-ADP | standard | 5950 | 5950 | 1 | 1 | 63 |  |  | 165275 | 1 | PLC, FX3U Two-axis positioning module for stepper and servo motors (200 kHz)
FX3U-4AD-TC-ADP | standard | 4200 | 4200 | 1 | 1 | 60 |  |  | 165273 | 1 | PLC, FX3U Analog input module for thermo-elements; 4 thermo-coupler inputs
FX3U-4AD-PT-ADP | standard | 4200 | 4200 | 1 | 1 | 60 |  |  | 165272 | 1 | PLC, FX3U Analog input module for Pt100 elements; 4 Pt100 inputs
FX3U-CNV-BD | standard | 440 | 440 | 1 | 1 | 9 |  |  | 165285 | 1 | PLC, FX3U Communication adapter for MELSEC FX3U ADP special function modules
FX3U-422-BD | standard | 500 | 500 | 1 | 1 | 9 |  |  | 165282 | 1 | PLC, FX3U RS422 Interface module; for MELSEC FX3U
Q312B | standard | 3000 | 3000 | 1 | 1 | 71 |  |  | 129566 | 1 | PLC Q Series 12 Slots, Base unit power supply + CPU + 12 I/O slots
Q03UDVCPU | standard | 10700 | 10700 | 1 | 1 | 64 |  |  | 266161 | 1 | PLC Q Series iQ CPU module;4096 EA;1.9 ns/log. Com.;30k steps;Ethernet;USB;SD
Q64DAN | standard | 5550 | 5550 | 1 | 1 | 67 |  |  | 200690 | 1 | PLC Q Series 4 channel analog output module voltage/current;isolat. power supply
Q01UCPU | standard | 5022 | 5022 | 1 | 1 | 64 |  |  | 221577 | 1 | PLC Q Series iQ CPU module; 1024 I/O; 60 ns/com.; 15k steps
QJ61BT11N | standard | 2400 | 2400 | 1 | 1 | 66 |  |  | 154748 | 1 | PLC Q Series CC-Link Master/Local Module, CC-Link Version 2
Q61SP | standard | 1047 | 1047 | 1 | 1 | 67 |  |  | 147286 | 1 | PLC Q Series Power supply 100-240 V AC input, 5 V DC 2 A output, for Q3xSB
Q61P | standard | 1500 | 1500 | 1 | 1 | 67 |  |  | 190235 | 1 | PLC Q Series Power supply 100-240 V AC input, 5 V DC 6 A output
QX81 | standard | 3500 | 3500 | 1 | 1 | 69 |  |  | 129594 | 1 | PLC Q Series Input module; 24 V DC; 32 inputs; SUB-D connector
QX80 | standard | 2500 | 2500 | 1 | 1 | 69 |  |  | 127587 | 1 | PLC Q Series Input module; 24 V DC; 16 inputs; screw terminal block
QY80 | standard | 3500 | 3500 | 1 | 1 | 70 |  |  | 127588 | 1 | PLC Q Series Output module; 24V DC; 0.5A, 16 transistor outputs; screw terminals
QY41P | standard | 1750 | 1750 | 1 | 1 | 70 |  |  | 132576 | 1 | 32 point transistor, 12-24V DC, 0.1A/point, 2A/common, sink, 32 points/common
QY42P | standard | 2675 | 2675 | 1 | 1 | 70 |  |  | 132577 | 1 | PLC Q Series Output module; 12/24V DC;0.1A, 64 transistor outputs sink;connector
QX42 | standard | 4410 | 4410 | 1 | 1 | 69 |  |  | 132574 | 1 | 64 point, 24V DC input (4mA), sink type, 32 points/common
QX40 | standard | 883.26 | 883.26 | 1 | 1 | 69 |  |  | 132572 | 1 | 16 point, 24V DC input (4mA), sink type, 16 points/common
QY10 | standard | 2200 | 2200 | 1 | 1 | 69 |  |  | 129605 | 1 | PLC Q Series Output module; 240V AC/24V DC; 2A;16 relay outputs; screw terminals